## Table of Contents
2022 Solar, Onshore Wind, Storage PPA RFP - Checklist - Table of Contents
Revision 1 issued November 7, 2022
 Proposals will need to include all diligence not listed in these checklists that may be needed for project premitting and compliance with law.
 Refer to the "2022 Solar RFP Previously Developed Site Fact Sheet" for definitions and classifications concerning previously developed sites.
*Important*
 All items listed required within the checklist are required for RFP considerations.
 If required items are not applicable to the particular Previously Developed project, then you must provide a detailed narrative within the project narrative describing why the items are not applicable.
 All documents are to be uploaded into the respectively-named "SharePoint PPA Upload Folder" (column D) for each required item.
 On the Checklist, indicate the file name and type containing the required information in the SharePoint PPA Upload Folder column next to each item.
 Bidders should provide a completed checklist with this information for each of their projects.
Use the applicable checklist as a guide for all bid submittals:
PPA - Solar
PPA - DER Solar
PPA - Onshore Wind
PPA - Energy Storage
PPA - Solar Plus Energy Storage
PPA - Onshore Wind Plus Energy Storage

## PPA-Solar
2022 Solar and Onshore Wind RFP_Checklist - PPA, Utility Scale Solar (> 3 MW)
[Note: highlighting indicates checklist items revised or new to Revision 1 dated 11/07/22]
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Virginia and U.S. Economic Impact
Use of VA and U.S. Resources
 If applicable, please provide proof of existing business in Virginia, or license to do business in Virginia | ü
 Description of expected use of Virginia and U.S.-based labor, materials and resources | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Justice
 Prepare and submit PDFs of both the “Printable Standard Report” and the “2013-2017 ACS Report” from the Environmental Protection Agency (EPA) EJSCREEN website for the 1-mile area surrounding such site. (See Environmental Justice Instruction Sheet) | ü
 Specify if the site is in an Environmental Justice (EJ) community per the Virginia Environmental Justice Act (VEJA) definitions. | ü
 If a project is determined to potentially impact an EJ community, please indicate what action has been taken regarding the Commonwealth’s VEJA policy. (For example, a targeted outreach plan, community engagement plan, indications if anyone in the community has expressed opposition and examples of the communication that has gone out or will go out to the community regarding the project) | ü
 Provide any other environmental justice considerations that are relevant to the project. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Facility Design, Equipment Reliability & Operation Plan
Development Experience & Qualifications
 Key Contributors summary | ü
 List of prior development projects | ü
Equipment Reliability
 List of planned equipment and technology | ü
Operating Experience, Site Plan, and Parameters
 Operations and Maintenance Plan (RFP Document Section III.B.7) | ü
 DC and AC Capacity | ü
 Preliminary Site Plan - Include the Following Detail | ü
o Single Axis Tracker or Fixed Tilt Designation | ü
o Property Line | ü
o Acreage of Property (Site Control) | ü
o Acreage of Property (Site Footprint) | ü
o Fence Lines | ü
o Point of Interconnection | ü
o Environmental Considerations |  | ü
o Identified Wetlands and Streams |  | ü
o Proposed Wetland and Stream Impacts |  | ü
o RPA Limits |  | ü
o Identified Cultural Resources |  | ü
o Identified Threatened and/or Endangered Species Habitats |  | ü
o Forestry | ü
o If any forestry will be cleared for the project, and if so, how many acres | ü
o If applicable, please indicate if any of the forestry being removed is considered Very High or Outstanding Conservation Value by the Department of Forestry | ü
 Resource Performance Summary Report (PVSyst latest version) | ü
o 8760 Generation Profile in MS Excel format (see supplemental PVSyst specification) | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Development Schedule & Risk
Project Development Schedule
 Development Plan (RFP Document Section III.B.6) | ü
 Anticipated Construction Schedule | ü
Interconnection
 Voluntary Consent Form - Executed | ü
 All Interconnection Application materials, including one-line, equipment specifications, site control and other ancillary documents. Provide assigned queue number and cost estimate. | ü
 Acknowledge whether Study Reports and Agreements have been issued for the project to date. If yes, please provide. | ü
 Copy of the Interconnection Service Agreement and WMPA, where available |  | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Permitting & Approvals
 Environmental Plan (RFP Document Section III.B.8) | ü
 Shape file (KMZ, KML, or other file) showing site boundary | ü
 Phase 1 Environmental Site Assessment (Field Assessment) | ü
 Wetland Delineation & Stream Identification Report (Field Assessment) | ü
 Jurisdictional Determination from US Army Corps of Engineers/State Surface Water Determination (if applicable) |  | ü
 Threatened & Endangered Species Review (Desktop)
o US Fish and Wildlife Service - Trust Resource List (no agency coordination) | ü
o Department of Wildlife Resources - VAFWIS or WERMS database review (2 mile search radius with confirmation of species of observations) | ü
o Department of Wildlife Resources - Northern Long-Eared Bat Winter habitat and roost trees map | ü
o Department of Wildlife Resources - Little Brown Bat and Tri-Colored Bat Winter habitat and roosts map | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Search (sub-watershed level screening) - Note: This item can be shown as not applicable if a project review level screening is provided | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Explorer (Subscriber or Project Review level screening) |  | ü
 Onsite Threatened & Endangered Species Habitat Assessment (Field Assessment) if applicable based on database results and/or other agency coordination |  | ü
 Coastal Avian Protection Zone Map with project location and Zone Identified |  | ü
 Cultural Resources Review - Archaeological and Architectural (Desktop) - Note: This item can been shown as not applicable if a Phase 1 Cultural Resources Survey or Assessment is being provided | ü
 Phase 1 Cultural Resources Survey - Archaeological and Architectural (Desktop) and all correspondence with DHR including concurrence letter |  | ü
 Risk Assessment conducted by a professional meeting the qualification standards of the Department of the Interior (48 FR 44738-9) - Note: this item can be shown as not applicable if a Phase 1 Cultural Resources Survey is being provided | ü
For Projects Located in Tidewater/Chesapeake Bay Preservation Area
 Chesapeake Bay Preservation Area Boundaries - Perennial Flow Determination (Field Assessment) MZ, KML, or other file) | ü
 Chesapeake Bay Preservation Area Boundaries - Local and/or Department of Environmental Quality Approval (Field Assessment) |  | ü
For Projects Developing on a Previously Developed Site
 Phase 2 Environmental Site Assessment, if Recognized Environmental Conditions (RECs) noted during a Phase 1 or legacy contamination is present | ü
 Administrative orders, consent decrees, or any US or Virginia environmental permits required for operation of the brownfield site (see Previously Developed Site Fact Sheet for specific requirements) | ü
 Environmental Land Use, Deed Restrictions, Covenants, and/or Long Term Management Plans | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Local Permitting Risk
 Complete "Permitting Plan" in its Entirety | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Land Agreements
 Proof of Existing Site Control: Options, Leases and Purchase Contracts are acceptable. All documents provided should have fully negotiated terms. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Project Tax Credits
 Provide list of any tax credits expected to apply to project and amounts | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Power Purchase Agreements
 Provide (i) an affirmative statement that Bidder is taking no exception to the form of power purchase agreement provided pursuant to this RFP; or (ii) a fully marked-up Form Agreement reflective of its bid, and that Bidder deems execution-ready | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Counterparty Financial Strength
 Legal Name and Current Address | ü
 Corporate Structure and Primary and Secondary Businesses Including all Legal Entity Names | ü
 Complete provided Bank and Trade Reference Sheet | ü
 Provide all associated entities providing equity funding, their associated percentages, and the role of each party | ü
 3 years of audited financials | ü
 Credit Package with pre-COD and post-COD credit support description | ü
For Projects Developing on a Previously Developed Site
 If the property is subject to any federal, state, or local voluntary cleanup, brownfields, or remediation grants, loans or programs, please name all | ü
 Potentially Responsible Parties (PRPs) identified, if applicable | ü

## PPA-DER Solar
2022 Solar and Onshore Wind RFP Checklist - PPA, DER Solar (<= 3 MW)
[Note: highlighting indicates checklist items revised or new to Revision 1 dated 11/07/22]
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Virginia and U.S. Economic Impact
Use of VA and U.S. Resources
 If applicable, please provide proof of existing business in Virginia, or license to do business in Virginia | ü
 Description of expected use of Virginia and U.S.-based labor, materials and resources | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Justice
 Prepare and submit PDFs of both the “Printable Standard Report” and the “2013-2017 ACS Report” from the Environmental Protection Agency (EPA) EJSCREEN website for the 1-mile area surrounding such site. (See Environmental Justice Instruction Sheet) | ü
 Specify if the site is in an Environmental Justice (EJ) community per the Virginia Environmental Justice Act (VEJA) definitions. | ü
 If a project is determined to potentially impact an EJ community, please indicate what action has been taken regarding the Commonwealth’s VEJA policy. (For example, a targeted outreach plan, community engagement plan, indications if anyone in the community has expressed opposition and examples of the communication that has gone out or will go out to the community regarding the project) | ü
 Provide any other environmental justice considerations that are relevant to the project. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Facility Design, Equipment Reliability & Operation Plan
Development Experience & Qualifications
 Key Contributors summary | ü
 List of prior development projects | ü
Equipment Reliability
 List of planned equipment and technology | ü
Operating Experience, Site Plan, and Parameters
 Operations and Maintenance Plan (RFP Document Section III.B.7) | ü
 DC and AC Capacity | ü
 Preliminary Site Plan - Include the Following Detail | ü
o Single Axis Tracker or Fixed Tilt Designation | ü
o Property Line | ü
o Acreage of Property (Site Control) | ü
o Acreage of Property (Site Footprint) | ü
o Fence Lines | ü
o Point of Interconnection | ü
o Environmental Considerations |  | ü
o Identified Wetlands and Streams |  | ü
o Proposed Wetland and Stream Impacts |  | ü
o RPA Limits |  | ü
o Identified Cultural Resources |  | ü
o Identified Threatened and/or Endangered Species Habitats |  | ü
o Forestry | ü
o If any forestry will be cleared for the project, and if so, how many acres | ü
o If applicable, please indicate if any of the forestry being removed is considered Very High or Outstanding Conservation Value by the Department of Forestry | ü
 Resource Performance Summary Report (PVSyst latest version) | ü
o 8760 Generation Profile in MS Excel format (see supplemental PVSyst specification) | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Development Schedule & Risk
Project Development Schedule
 Development Plan (RFP Document Section III.B.6) | ü
 Anticipated Construction Schedule | ü
Interconnection
 Voluntary Consent Form - Executed | ü
 All Interconnection Application materials, including one-line, equipment specifications, site control and other ancillary documents. Provide assigned queue number and cost estimate. | ü
 Acknowledge whether Study Reports and Agreements have been issued for the project to date. If yes, please provide. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Permitting & Approvals
 Environmental Plan (RFP Document Section III.B.8) | ü
 Shape file (KMZ, KML, or other file) showing site boundary | ü
 Phase 1 Environmental Site Assessment (Field Assessment) | ü
 Wetland Delineation & Stream Identification Report (Field Assessment) | ü
 Jurisdictional Determination from US Army Corps of Engineers/State Surface Water Determination (if applicable) |  | ü
 Threatened & Endangered Species Review (Desktop)
o US Fish and Wildlife Service - Trust Resource List (no agency coordination) | ü
o Department of Wildlife Resources - VAFWIS or WERMS database review (2 mile search radius with confirmation of species of observations) | ü
o Department of Wildlife Resources - Northern Long-Eared Bat Winter habitat and roost trees map | ü
o Department of Wildlife Resources - Little Brown Bat and Tri-Colored Bat Winter habitat and roosts map | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Search (sub-watershed level screening) - Note: This item can be shown as not applicable if a project review level screening is provided | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Explorer (Subscriber or Project Review level screening) |  | ü
 Onsite Threatened & Endangered Species Habitat Assessment (Field Assessment) if applicable based on database results and/or other agency coordination |  | ü
 Coastal Avian Protection Zone Map with project location and Zone Identified |  | ü
 Cultural Resources Review - Archaeological and Architectural (Desktop) - Note: This item can been shown as not applicable if a Phase 1 Cultural Resources Survey or Assessment is being provided | ü
 Phase 1 Cultural Resources Survey - Archaeological and Architectural (Desktop) and all correspondence with DHR including concurrence letter |  | ü
 Risk Assessment conducted by a professional meeting the qualification standards of the Department of the Interior (48 FR 44738-9) - Note: this item can be shown as not applicable if a Phase 1 Cultural Resources Survey is being provided | ü
For Projects Located in Tidewater/Chesapeake Bay Preservation Area
 Chesapeake Bay Preservation Area Boundaries - Perennial Flow Determination (Field Assessment) MZ, KML, or other file) | ü
 Chesapeake Bay Preservation Area Boundaries - Local and/or Department of Environmental Quality Approval (Field Assessment) |  | ü
Projects Developing on a Previoulsy Developed Site
 Phase 2 Environmental Site Assessment, if Recognized Environmental Conditions (RECs) noted during a Phase 1 or legacy contamination is present | ü
 Administrative orders, consent decrees, or any US or Virginia environmental permits required for operation of the brownfield site (see Previously Developed Site Fact Sheet for specific requirements) | ü
 Environmental Land Use, Deed Restrictions, Covenants, and/or Long Term Management Plans | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Local Permitting Risk
 Complete "Permitting Plan" in its Entirety | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Land Agreements
 Proof of Existing Site Control: Options, Leases and Purchase Contracts are acceptable. All documents provided should have fully negotiated terms. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Project Tax Credits
 Provide list of any tax credits expected to apply to project and amounts | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Power Purchase Agreements
 Provide (i) an affirmative statement that Bidder is taking no exception to the form of power purchase agreement provided pursuant to this RFP; or (ii) a fully marked-up Form Agreement reflective of its bid, and that Bidder deems execution-ready | ü |  | Does DER want to keep this wording or simply state that an affirmation to the Form PPA is required? Didn't know if we were going to allow them to red-line next cycle
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Counterparty Financial Strength
 Legal Name and Current Address | ü
 Corporate Structure and Primary and Secondary Businesses Including all Legal Entity Names | ü
 Complete provided Bank and Trade Reference Sheet | ü
 Provide all associated entities providing equity funding, their associated percentages, and the role of each party | ü
 3 years of audited financials | ü
 Credit Package with pre-COD and post-COD credit support description | ü
For Projects Developing on a Previoulsy Developed Site
 If the property is subject to any federal, state, or local voluntary cleanup, brownfields, or remediation grants, loans or programs, please name all | ü
 Potentially Reponsible Parties (PRPs) identified, if applicable | ü

## PPA-Onshore Wind
2022 Solar and Onshore Wind RFP_Checklist - PPA, Onshore Wind
[Note: highlighting indicates checklist items revised or new to Revision 1 dated 11/07/22]
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Virginia and U.S. Economic Impact
Use of VA and U.S. Resources
 If applicable, please provide proof of existing business in Virginia, or license to do business in Virginia | ü
 Description of expected use of Virginia and U.S.-based labor, materials and resources | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Justice
 Prepare and submit PDFs of both the “Printable Standard Report” and the “2013-2017 ACS Report” from the Environmental Protection Agency (EPA) EJSCREEN website for the 1-mile area surrounding such site. (See Environmental Justice Instruction Sheet) | ü
 Specify if the site is in an Environmental Justice (EJ) community per the Virginia Environmental Justice Act (VEJA) definitions. | ü
 If a project is determined to potentially impact an EJ community, please indicate what action has been taken regarding the Commonwealth’s VEJA policy. (For example, a targeted outreach plan, community engagement plan, indications if anyone in the community has expressed opposition and examples of the communication that has gone out or will go out to the community regarding the project) | ü
 Provide any other environmental justice considerations that are relevant to the project. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Facility Design, Equipment Reliability & Operation Plan
Development Experience & Qualifications
 Key Contributors summary | ü
 List of prior development projects | ü
Equipment Reliability
 List of planned equipment and technology | ü
Operating Experience, Site Plan, and Parameters
 Operations and Maintenance Plan (RFP Document Section III.B.7) | ü
 DC and AC Capacity | ü
 Preliminary Site Plan - Include the Following Detail | ü
o Property Line | ü
o Acreage of Property (Site Control) | ü
o Acreage of Property (Site Footprint) | ü
o Fence Lines | ü
o Point of Interconnection | ü
o Environmental Considerations |  | ü
o Identified Wetlands and Streams |  | ü
o Proposed Wetland and Stream Impacts |  | ü
o RPA Limits |  | ü
o Identified Cultural Resources |  | ü
o Identified Threatened and/or Endangered Species Habitats |  | ü
o Forestry | ü
o If any forestry will be cleared for the project, and if so, how many acres | ü
o If applicable, please indicate if any of the forestry being removed is considered Very High or Outstanding Conservation Value by the Department of Forestry | ü
 Resource Performance Summary Report | ü
o 8760 Generation Profile in MS Excel format | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Development Schedule & Risk
Project Development Schedule
 Development Plan (RFP Document Section III.B.6) | ü
 Anticipated Construction Schedule | ü
Interconnection
 Voluntary Consent Form - Executed | ü
 All Interconnection Application materials, including one-line, equipment specifications, site control and other ancillary documents. Provide assigned queue number and cost estimate. | ü
 Acknowledge whether Study Reports and Agreements have been issued for the project to date. If yes, please provide. | ü
 Copy of the Interconnection Service Agreement and WMPA, where available |  | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Permitting & Approvals
 Environmental Plan (RFP Document Section III.B.8) | ü
 Shape file (KMZ, KML, or other file) showing site boundary | ü
 Phase 1 Environmental Site Assessment (Field Assessment) | ü
 Wetland Delineation & Stream Identification Report (Field Assessment) | ü
 Jurisdictional Determination from US Army Corps of Engineers/State Surface Water Determination (if applicable) |  | ü
 Threatened & Endangered Species Review (Desktop)
o US Fish and Wildlife Service - Trust Resource List (no agency coordination) | ü
o Department of Wildlife Resources - VAFWIS or WERMS database review (2 mile search radius with confirmation of species of observations) | ü
o Department of Wildlife Resources - Northern Long-Eared Bat Winter habitat and roost trees map | ü
o Department of Wildlife Resources - Little Brown Bat and Tri-Colored Bat Winter habitat and roosts map | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Search (sub-watershed level screening) - Note: This item can be shown as not applicable if a project review level screening is provided | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Explorer (Subscriber or Project Review level screening) |  | ü
 Onsite Threatened & Endangered Species Habitat Assessment (Field Assessment) if applicable based on database results and/or other agency coordination |  | ü
 Coastal Avian Protection Zone Map with project location and Zone Identified |  | ü
 Cultural Resources Review - Archaeological and Architectural (Desktop) - Note: This item can been shown as not applicable if a Phase 1 Cultural Resources Survey or Assessment is being provided | ü
 Phase 1 Cultural Resources Survey - Archaeological and Architectural (Desktop) and all correspondence with DHR including concurrence letter |  | ü
 Risk Assessment conducted by a professional meeting the qualification standards of the Department of the Interior (48 FR 44738-9) - Note: this item can be shown as not applicable if a Phase 1 Cultural Resources Survey is being provided | ü
 Consultation letter from USFWS | ü
 Consultation letter from State Agencies |  | ü
 Noise Studies (for each turbine under construction) |  | ü
 Shadow Flicker Study |  | ü
 Avian studies and schedule for completion | ü
For Projects Located in Tidewater/Chesapeake Bay Preservation Area
 Chesapeake Bay Preservation Area Boundaries - Perennial Flow Determination (Field Assessment) MZ, KML, or other file) | ü
 Chesapeake Bay Preservation Area Boundaries - Local and/or Department of Environmental Quality Approval (Field Assessment) |  | ü
For Projects Developing on a Previoulsy Developed Site
 Phase 2 Environmental Site Assessment, if Recognized Environmental Conditions (RECs) noted during a Phase 1 or legacy contamination is present | ü
 Administrative orders, consent decrees, or any US or Virginia environmental permits required for operation of the brownfield site (see Previously Developed Site Fact Sheet for specific requirements) | ü
 Environmental Land Use, Deed Restrictions, Covenants, and/or Long Term Management Plans | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Local Permitting Risk
 Complete "Permitting Plan" in its Entirety | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Land Agreements
 Proof of Existing Site Control: Options, Leases and Purchase Contracts are acceptable. All documents provided should have fully negotiated terms. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Project Tax Credits
 Provide list of any tax credits expected to apply to project and amounts | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Power Purchase Agreements
 Provide (i) an affirmative statement that Bidder is taking no exception to the form of power purchase agreement provided pursuant to this RFP; or (ii) a fully marked-up Form Agreement reflective of its bid, and that Bidder deems execution-ready | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Counterparty Financial Strength
 Legal Name and Current Address | ü
 Corporate Structure and Primary and Secondary Businesses Including all Legal Entity Names | ü
 Complete provided Bank and Trade Reference Sheet | ü
 Provide all associated entities providing equity funding, their associated percentages, and the role of each party | ü
 3 years of audited financials | ü
 Credit Package with pre-COD and post-COD credit support description | ü
For Projects Developing on a Previoulsy Developed Site
 If the property is subject to any federal, state, or local voluntary cleanup, brownfields, or remediation grants, loans or programs, please name all
 Potentially Reponsible Parties (PRPs) identified, if applicable

## PPA-Energy Storage
2022 Solar and Onshore Wind RFP_Checklist - PPA, Energy Storage
[Note: highlighting indicates checklist items revised or new to Revision 1 dated 11/07/22]
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Virginia and U.S. Economic Impact
Use of VA and U.S. Resources
 If applicable, please provide proof of existing business in Virginia, or license to do business in Virginia | ü
 Description of expected use of Virginia and U.S.-based labor, materials and resources | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Justice
 Prepare and submit PDFs of both the “Printable Standard Report” and the “2013-2017 ACS Report” from the Environmental Protection Agency (EPA) EJSCREEN website for the 1-mile area surrounding such site. (See Environmental Justice Instruction Sheet) | ü
 Specify if the site is in an Environmental Justice (EJ) community per the Virginia Environmental Justice Act (VEJA) definitions. | ü
 If a project is determined to potentially impact an EJ community, please indicate what action has been taken regarding the Commonwealth’s VEJA policy. (For example, a targeted outreach plan, community engagement plan, indications if anyone in the community has expressed opposition and examples of the communication that has gone out or will go out to the community regarding the project) | ü
 Provide any other environmental justice considerations that are relevant to the project. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Facility Design, Equipment Reliability & Operation Plan
Development Experience & Qualifications
 Key Contributors summary | ü
 List of prior development projects | ü
Equipment Reliability
 List of planned equipment and technology | ü
Operating Experience, Site Plan, and Parameters
 Operations and Maintenance Plan (RFP Document Section III.B.7) | ü
 Preliminary Site Plan - Include the Following Detail | ü
Provide Integration of energy storage system, including acreage of operational footprint assuming: o Containers/structures or groups of containers/structures with ≤6 MWh of batteries shall have 25’ spacing between other containers / structures or other groups of containers / structures containing batteries. 25ft of separation shall also be provided to other site buildings/structures or equipment. o Containers/structures with > 6 MWh of batteries shall have 50’ spacing between containers/structures any other site building/structure/equipment and shall have individual rooms limited to ≤6 MWh of batteries with firewalls (4hr rated masonry block) between all battery rooms. 50 ft of spacing shall also be provided to other site buildings / equipment. o All containers/structures containing batteries shall be at least 100 feet from the property line Scenarios that illustrate the groups of containers/structures concept in the first bullet above, are as follows (for illustrative purposes): o Scenario 1 ¦ An enclosure that is rated for 2 MWh can be grouped together with two other 2 MWh enclosures next to each other. This satisfies the requirement as it is a group of containers / structures of ≤6 MWh . The next grouping of three 2MWh enclosures must be spaced 25’ apart from the original grouping of enclosures. o Scenario 2 ¦ An enclosure that is rated for 5 MWh cannot be grouped with another enclosure rated for 5 MWh, since the total would be 10 MWh which exceeds the 6MWh limit. The next enclosure would have to be spaced 25’ apart. o Scenario 3 ¦ An enclosure that is rated for 0.7 MWh can be grouped together with eight other enclosures as the total would be 5.6 MWh which is less than the 6 MWh limit requirement. The next grouping of eight enclosures would need to be spaced 25’ apart from the original grouping of enclosures. | ü
o UL9540a test reports at the cell, module, and unit level. Note: Batteries that require installation level testing per UL9540a (due to propagation/fire/explosion results obtained at the unit level) are unacceptable for this project |  | ü
o Property Line | ü
o Acreage of Property (Site Control) | ü
o Acreage of Property (Site Footprint) | ü
o Fence Lines | ü
o Point of Interconnection | ü
o Environmental Considerations |  | ü
o Identified Wetlands and Streams |  | ü
o Proposed Wetland and Stream Impacts |  | ü
o RPA Limits |  | ü
o Identified Cultural Resources |  | ü
o Identified Threatened and/or Endangered Species Habitats |  | ü
o Forestry | ü
o If any forestry will be cleared for the project, and if so, how many acres | ü
o If applicable, please indicate if any of the forestry being removed is considered Very High or Outstanding Conservation Value by the Department of Forestry | ü
 Storage System Technological Aspects | ü
o MW System Size (AC rating) | ü
o Storage Facility Useful Life (Years) | ü
o Technology type (Lithium Battery / Flow Battery / Hydro / Cryogenic / Compressed Air / Other) | ü
o Storage Duration (hours) | ü
o Battery Storage Chemistry (type, if applicable) | ü
o Round Trip Efficiency % by year (years 1-5) | ü
o Augmentation Schedule (if required in order to to hold MWh output at 100% of MW System Size * Duration at Year 10) | ü
o Annual Degradation Rate (years 1-10, asssuming no augmentation) | ü
o Minimum Charge Time for Full Charge (minutes) | ü
o Minimum State of Charge (MW) | ü
o Minimum Discharge Time for Full Discharge (minutes) | ü
o Maximum State of Charge (MW) | ü
o Maximum Ramp Rate (MW/minute) | ü
o Maximum Annual Cycles | ü
o System Availability in 24 Hour Period (%) |  | ü
o Recommended Average Annual State of Charge |  | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Development Schedule & Risk
Project Development Schedule
 Development Plan (RFP Document Section III.B.6) | ü
 Anticipated Construction Schedule | ü
Interconnection
 Voluntary Consent Form - Executed | ü
 All Interconnection Application materials, including one-line, equipment specifications, site control and other ancillary documents. Provide assigned queue number and cost estimate. |  | ü
 Acknowledge whether Study Reports and Agreements have been issued for the project to date. If yes, please provide. | ü
 Copy of the Interconnection Service Agreement and WMPA, where available |  | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Permitting & Approvals
 Environmental Plan (RFP Document Section III.B.8) | ü
 Shape file (KMZ, KML, or other file) showing site boundary | ü
 Phase 1 Environmental Site Assessment (Field Assessment) | ü
 Wetland Delineation & Stream Identification Report (Field Assessment) | ü
 Jurisdictional Determination from US Army Corps of Engineers/State Surface Water Determination (if applicable) |  | ü
 Threatened & Endangered Species Review (Desktop)
o US Fish and Wildlife Service - Trust Resource List (no agency coordination) | ü
o Department of Wildlife Resources - VAFWIS or WERMS database review (2 mile search radius with confirmation of species of observations) | ü
o Department of Wildlife Resources - Northern Long-Eared Bat Winter habitat and roost trees map | ü
o Department of Wildlife Resources - Little Brown Bat and Tri-Colored Bat Winter habitat and roosts map | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Search (sub-watershed level screening) - Note: This item can be shown as not applicable if a project review level screening is provided | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Explorer (Subscriber or Project Review level screening) |  | ü
 Onsite Threatened & Endangered Species Habitat Assessment (Field Assessment) if applicable based on database results and/or other agency coordination |  | ü
 Coastal Avian Protection Zone Map with project location and Zone Identified |  | ü
 Cultural Resources Review - Archaeological and Architectural (Desktop) - Note: This item can been shown as not applicable if a Phase 1 Cultural Resources Survey or Assessment is being provided | ü
 Phase 1 Cultural Resources Survey - Archaeological and Architectural (Desktop) and all correspondence with DHR including concurrence letter |  | ü
 Risk Assessment conducted by a professional meeting the qualification standards of the Department of the Interior (48 FR 44738-9) - Note: this item can be shown as not applicable if a Phase 1 Cultural Resources Survey is being provided | ü
 Storage System Safety Data Sheet |  | ü
For Projects Located in Tidewater/Chesapeake Bay Preservation Area
 Chesapeake Bay Preservation Area Boundaries - Perennial Flow Determination (Field Assessment) MZ, KML, or other file) | ü
 Chesapeake Bay Preservation Area Boundaries - Local and/or Department of Environmental Quality Approval (Field Assessment) |  | ü
For Projects Developing on a Previoulsy Developed Site
 Phase 2 Environmental Site Assessment, if Recognized Environmental Conditions (RECs) noted during a Phase 1 or legacy contamination is present | ü
 Administrative orders, consent decrees, or any US or Virginia environmental permits required for operation of the brownfield site (see Previously Developed Site Fact Sheet for specific requirements) | ü
 Environmental Land Use, Deed Restrictions, Covenants, and/or Long Term Management Plans | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Local Permitting Risk
 Complete "Permitting Plan" in its Entirety | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Land Agreements
 Proof of Existing Site Control: Options, Leases and Purchase Contracts are acceptable. All documents provided should have fully negotiated terms. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Project Tax Credits
 Provide list of any tax credits expected to apply to project and amounts | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Power Purchase Agreements
 Provide (i) an affirmative statement that Bidder is taking no exception to the form of power purchase agreement provided pursuant to this RFP; or (ii) a fully marked-up Form Agreement reflective of its bid, and that Bidder deems execution-ready | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Counterparty Financial Strength
 Legal Name and Current Address | ü
 Corporate Structure and Primary and Secondary Businesses Including all Legal Entity Names | ü
 Complete provided Bank and Trade Reference Sheet | ü
 Provide all associated entities providing equity funding, their associated percentages, and the role of each party | ü
 3 years of audited financials | ü
 Credit Package with pre-COD and post-COD credit support description | ü
For Projects Developing on a Previoulsy Developed Site
 If the property is subject to any federal, state, or local voluntary cleanup, brownfields, or remediation grants, loans or programs, please name all
 Potentially Reponsible Parties (PRPs) identified, if applicable

## PPA-Solar Plus Storage
2022 Solar and Onshore Wind RFP_Checklist - PPA, Solar and Storage
[Note: highlighting indicates checklist items revised or new to Revision 1 dated 11/07/22]
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Virginia and U.S. Economic Impact
Use of VA and U.S. Resources
 If applicable, please provide proof of existing business in Virginia, or license to do business in Virginia | ü
 Description of expected use of Virginia and U.S.-based labor, materials and resources | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Justice
 Prepare and submit PDFs of both the “Printable Standard Report” and the “2013-2017 ACS Report” from the Environmental Protection Agency (EPA) EJSCREEN website for the 1-mile area surrounding such site. (See Environmental Justice Instruction Sheet) | ü
 Specify if the site is in an Environmental Justice (EJ) community per the Virginia Environmental Justice Act (VEJA) definitions. | ü
 If a project is determined to potentially impact an EJ community, please indicate what action has been taken regarding the Commonwealth’s VEJA policy. (For example, a targeted outreach plan, community engagement plan, indications if anyone in the community has expressed opposition and examples of the communication that has gone out or will go out to the community regarding the project) | ü
 Provide any other environmental justice considerations that are relevant to the project. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Facility Design, Equipment Reliability & Operation Plan
Development Experience & Qualifications
 Key Contributors summary | ü
 List of prior development projects | ü
Equipment Reliability
 List of planned equipment and technology | ü
Operating Experience, Site Plan, and Parameters
 Operations and Maintenance Plan (RFP Document Section III.B.7) | ü
 DC and AC Capacity | ü
 Preliminary Site Plan - Include the Following Detail | ü
o Single Axis Tracker or Fixed Tilt Designation | ü
Provide Integration of energy storage system, including acreage of operational footprint assuming: o Containers/structures or groups of containers/structures with ≤6 MWh of batteries shall have 25’ spacing between other containers / structures or other groups of containers / structures containing batteries. 25ft of separation shall also be provided to other site buildings/structures or equipment. o Containers/structures with > 6 MWh of batteries shall have 50’ spacing between containers/structures any other site building/structure/equipment and shall have individual rooms limited to ≤6 MWh of batteries with firewalls (4hr rated masonry block) between all battery rooms. 50 ft of spacing shall also be provided to other site buildings / equipment. o All containers/structures containing batteries shall be at least 100 feet from the property line Scenarios that illustrate the groups of containers/structures concept in the first bullet above, are as follows (for illustrative purposes): o Scenario 1 ¦ An enclosure that is rated for 2 MWh can be grouped together with two other 2 MWh enclosures next to each other. This satisfies the requirement as it is a group of containers / structures of ≤6 MWh . The next grouping of three 2MWh enclosures must be spaced 25’ apart from the original grouping of enclosures. o Scenario 2 ¦ An enclosure that is rated for 5 MWh cannot be grouped with another enclosure rated for 5 MWh, since the total would be 10 MWh which exceeds the 6MWh limit. The next enclosure would have to be spaced 25’ apart. o Scenario 3 ¦ An enclosure that is rated for 0.7 MWh can be grouped together with eight other enclosures as the total would be 5.6 MWh which is less than the 6 MWh limit requirement. The next grouping of eight enclosures would need to be spaced 25’ apart from the original grouping of enclosures. | ü
o Single Axis tracker or Fixed Tilt Designation
o Property Line | ü
o Acreage of Property (Site Control) | ü
o Acreage of Property (Site Footprint) | ü
o Fence Lines | ü
o Point of Interconnection | ü
o Environmental Considerations |  | ü
o Identified Wetlands and Streams |  | ü
o Proposed Wetland and Stream Impacts |  | ü
o RPA Limits |  | ü
o Identified Cultural Resources |  | ü
o Identified Threatened and/or Endangered Species Habitats |  | ü
o Forestry | ü
o If any forestry will be cleared for the project, and if so, how many acres | ü
o If applicable, please indicate if any of the forestry being removed is considered Very High or Outstanding Conservation Value by the Department of Forestry | ü
 Resource Performance Summary Report (PVSyst latest version) | ü
o 8760 Generation Profile in MS Excel format (see supplemental PVSyst specification) | ü
 Storage System Technological Aspects | ü
o MW System Size (AC and/or DC rating) | ü
o Storage Facility Useful Life (Years) | ü
o Technology type (Lithium Battery / Flow Battery / Hydro / Cryogenic / Compressed Air / Other) | ü
o Storage Duration (hours) | ü
o Battery Storage Chemistry (type, if applicable) | ü
o Round Trip Efficiency % by year (years 1-5) | ü
o Augmentation Schedule (if required in order to to hold MWh output at 100% of MW System Size * Duration at Year 10) | ü
o Annual Degradation Rate (years 1-10, asssuming no augmentation) | ü
o Minimum Charge Time for Full Charge (minutes) | ü
o Minimum State of Charge (MW) | ü
o Minimum Discharge Time for Full Discharge (minutes) | ü
o Maximum State of Charge (MW) | ü
o Maximum Ramp Rate (MW/minute) | ü
o Maximum Annual Cycles | ü
o System Availability in 24 Hour Period (%) |  | ü
o Recommended Average Annual State of Charge |  | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Development Schedule & Risk
Project Development Schedule
 Development Plan (RFP Document Section III.B.6) | ü
 Anticipated Construction Schedule | ü
Interconnection
 Voluntary Consent Form - Executed | ü
 All Interconnection Application materials, including one-line, equipment specifications, site control and other ancillary documents. Provide assigned queue number and cost estimate. | ü
 Acknowledge whether Study Reports and Agreements have been issued for the project to date. If yes, please provide. | ü
 Copy of the Interconnection Service Agreement and WMPA, where available |  | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Permitting & Approvals
 Environmental Plan (RFP Document Section III.B.8) | ü
 Shape file (KMZ, KML, or other file) showing site boundary | ü
 Phase 1 Environmental Site Assessment (Field Assessment) | ü
 Wetland Delineation & Stream Identification Report (Field Assessment) | ü
 Jurisdictional Determination from US Army Corps of Engineers/State Surface Water Determination (if applicable) |  | ü
 Threatened & Endangered Species Review (Desktop)
o US Fish and Wildlife Service - Trust Resource List (no agency coordination) | ü
o Department of Wildlife Resources - VAFWIS or WERMS database review (2 mile search radius with confirmation of species of observations) | ü
o Department of Wildlife Resources - Northern Long-Eared Bat Winter habitat and roost trees map | ü
o Department of Wildlife Resources - Little Brown Bat and Tri-Colored Bat Winter habitat and roosts map | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Search (sub-watershed level screening) - Note: This item can be shown as not applicable if a project review level screening is provided | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Explorer (Subscriber or Project Review level screening) |  | ü
 Onsite Threatened & Endangered Species Habitat Assessment (Field Assessment) if applicable based on database results and/or other agency coordination |  | ü
 Coastal Avian Protection Zone Map with project location and Zone Identified |  | ü
 Cultural Resources Review - Archaeological and Architectural (Desktop) - Note: This item can been shown as not applicable if a Phase 1 Cultural Resources Survey or Assessment is being provided | ü
 Phase 1 Cultural Resources Survey - Archaeological and Architectural (Desktop) and all correspondence with DHR including concurrence letter |  | ü
 Risk Assessment conducted by a professional meeting the qualification standards of the Department of the Interior (48 FR 44738-9) - Note: this item can be shown as not applicable if a Phase 1 Cultural Resources Survey is being provided | ü
For Projects Located in Tidewater/Chesapeake Bay Preservation Area
 Chesapeake Bay Preservation Area Boundaries - Perennial Flow Determination (Field Assessment) MZ, KML, or other file) | ü
 Chesapeake Bay Preservation Area Boundaries - Local and/or Department of Environmental Quality Approval (Field Assessment) |  | ü
 Storage System Safety Data Sheet |  | ü
For Projects Developing on a Previoulsy Developed Site
 Phase 2 Environmental Site Assessment, if Recognized Environmental Conditions (RECs) noted during a Phase 1 or legacy contamination is present | ü
 Administrative orders, consent decrees, or any US or Virginia environmental permits required for operation of the brownfield site (see Previously Developed Site Fact Sheet for specific requirements) | ü
 Environmental Land Use, Deed Restrictions, Covenants, and/or Long Term Management Plans | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Local Permitting Risk
 Complete "Permitting Plan" in its Entirety | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Land Agreements
 Proof of Existing Site Control: Options, Leases and Purchase Contracts are acceptable. All documents provided should have fully negotiated terms. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Project Tax Credits
 Provide list of any tax credits expected to apply to project and amounts | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Power Purchase Agreements
 Provide (i) an affirmative statement that Bidder is taking no exception to the form of power purchase agreement provided pursuant to this RFP; or (ii) a fully marked-up Form Agreement reflective of its bid, and that Bidder deems execution-ready | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Counterparty Financial Strength
 Legal Name and Current Address | ü
 Corporate Structure and Primary and Secondary Businesses Including all Legal Entity Names | ü
 Complete provided Bank and Trade Reference Sheet | ü
 Provide all associated entities providing equity funding, their associated percentages, and the role of each party | ü
 3 years of audited financials | ü
 Credit Package with pre-COD and post-COD credit support description | ü
For Projects Developing on a Previoulsy Developed Site
 If the property is subject to any federal, state, or local voluntary cleanup, brownfields, or remediation grants, loans or programs, please name all
 Potentially Reponsible Parties (PRPs) identified, if applicable

## PPA-Onshore Wind Plus Storage
2022 Solar and Onshore Wind RFP_Checklist - PPA, Wind and Storage
[Note: highlighting indicates checklist items revised or new to Revision 1 dated 11/07/22]
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Virginia and U.S. Economic Impact
Use of VA and U.S. Resources
 If applicable, please provide proof of existing business in Virginia, or license to do business in Virginia | ü
 Description of expected use of Virginia and U.S.-based labor, materials and resources | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Environmental Justice
 Prepare and submit PDFs of both the “Printable Standard Report” and the “2013-2017 ACS Report” from the Environmental Protection Agency (EPA) EJSCREEN website for the 1-mile area surrounding such site. (See Environmental Justice Instruction Sheet) | ü
 Specify if the site is in an Environmental Justice (EJ) community per the Virginia Environmental Justice Act (VEJA) definitions. | ü
 If a project is determined to potentially impact an EJ community, please indicate what action has been taken regarding the Commonwealth’s VEJA policy. (For example, a targeted outreach plan, community engagement plan, indications if anyone in the community has expressed opposition and examples of the communication that has gone out or will go out to the community regarding the project) | ü
 Provide any other environmental justice considerations that are relevant to the project. | ü
| Required | Requested | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
Facility Design, Equipment Reliability & Operation Plan
Development Experience & Qualifications
 Key Contributors summary | ü
 List of prior development projects | ü
Equipment Reliability
 List of planned equipment and technology | ü
Operating Experience, Site Plan, and Parameters
 Operations and Maintenance Plan (RFP Document Section III.B.7) | ü
 DC and AC Capacity | ü
 Preliminary Site Plan - Include the Following Detail | ü
Provide Integration of energy storage system, including acreage of operational footprint assuming: o Containers/structures or groups of containers/structures with ≤6 MWh of batteries shall have 25’ spacing between other containers / structures or other groups of containers / structures containing batteries. 25ft of separation shall also be provided to other site buildings/structures or equipment. o Containers/structures with > 6 MWh of batteries shall have 50’ spacing between containers/structures any other site building/structure/equipment and shall have individual rooms limited to ≤6 MWh of batteries with firewalls (4hr rated masonry block) between all battery rooms. 50 ft of spacing shall also be provided to other site buildings / equipment. o All containers/structures containing batteries shall be at least 100 feet from the property line Scenarios that illustrate the groups of containers/structures concept in the first bullet above, are as follows (for illustrative purposes): o Scenario 1 ¦ An enclosure that is rated for 2 MWh can be grouped together with two other 2 MWh enclosures next to each other. This satisfies the requirement as it is a group of containers / structures of ≤6 MWh . The next grouping of three 2MWh enclosures must be spaced 25’ apart from the original grouping of enclosures. o Scenario 2 ¦ An enclosure that is rated for 5 MWh cannot be grouped with another enclosure rated for 5 MWh, since the total would be 10 MWh which exceeds the 6MWh limit. The next enclosure would have to be spaced 25’ apart. o Scenario 3 ¦ An enclosure that is rated for 0.7 MWh can be grouped together with eight other enclosures as the total would be 5.6 MWh which is less than the 6 MWh limit requirement. The next grouping of eight enclosures would need to be spaced 25’ apart from the original grouping of enclosures. | ü
o UL9540a test reports at the cell, module, and unit level. Note: Batteries that require installation level testing per UL9540a (due to propagation/fire/explosion results obtained at the unit level) are unacceptable for this project |  | ü
o Property Line | ü
o Acreage of Property (Site Control) | ü
o Acreage of Property (Site Footprint) | ü
o Fence Lines | ü
o Point of Interconnection | ü
o Environmental Considerations |  | ü
o Identified Wetlands and Streams |  | ü
o Proposed Wetland and Stream Impacts |  | ü
o RPA Limits |  | ü
o Identified Cultural Resources |  | ü
o Identified Threatened and/or Endangered Species Habitats |  | ü
o Forestry | ü
o If any forestry will be cleared for the project, and if so, how many acres | ü
o If applicable, please indicate if any of the forestry being removed is considered Very High or Outstanding Conservation Value by the Department of Forestry | ü
 Resource Performance Summary Report | ü
o 8760 Generation Profile in MS Excel format | ü
 Storage System Technological Aspects | ü
o MW System Size (AC rating) | ü
o Storage Facility Useful Life (Years) | ü
o Technology type (Lithium Battery / Flow Battery / Hydro / Cryogenic / Compressed Air / Other) | ü
o Storage Duration (hours) | ü
o Battery Storage Chemistry (type, if applicable) | ü
o Round Trip Efficiency % by year (years 1-5) | ü
o Augmentation Schedule (if required in order to to hold MWh output at 100% of MW System Size * Duration at Year 10) | ü
o Annual Degradation Rate (years 1-10, asssuming no augmentation) | ü
o Minimum Charge Time for Full Charge (minutes) | ü
o Minimum State of Charge (MW) | ü
o Minimum Discharge Time for Full Discharge (minutes) | ü
o Maximum State of Charge (MW) | ü
o Maximum Ramp Rate (MW/minute) | ü
o Maximum Annual Cycles | ü
o System Availability in 24 Hour Period (%) |  | ü
o Recommended Average Annual State of Charge |  | ü | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
| Required | Requested
Development Schedule & Risk
Project Development Schedule
 Development Plan (RFP Document Section III.B.6) | ü
 Anticipated Construction Schedule | ü
Interconnection
 Voluntary Consent Form - Executed | ü
 All Interconnection Application materials, including one-line, equipment specifications, site control and other ancillary documents. Provide assigned queue number and cost estimate. | ü
 Acknowledge whether Study Reports and Agreements have been issued for the project to date. If yes, please provide. | ü
 Copy of the Interconnection Service Agreement and WMPA, where available |  | ü | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
| Required | Requested
Environmental Permitting & Approvals
 Environmental Plan (RFP Document Section III.B.8) | ü
 Shape file (KMZ, KML, or other file) showing site boundary | ü
 Phase 1 Environmental Site Assessment (Field Assessment) | ü
 Wetland Delineation & Stream Identification Report (Field Assessment) | ü
 Jurisdictional Determination from US Army Corps of Engineers/State Surface Water Determination (if applicable) |  | ü
 Threatened & Endangered Species Review (Desktop)
o US Fish and Wildlife Service - Trust Resource List (no agency coordination) | ü
o Department of Wildlife Resources - VAFWIS or WERMS database review (2 mile search radius with confirmation of species of observations) | ü
o Department of Wildlife Resources - Northern Long-Eared Bat Winter habitat and roost trees map | ü
o Department of Wildlife Resources - Little Brown Bat and Tri-Colored Bat Winter habitat and roosts map | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Search (sub-watershed level screening) - Note: This item can be shown as not applicable if a project review level screening is provided | ü
o Virginia Department of Conservation and Recreation - Virginia Natural Heritage Database Explorer (Subscriber or Project Review level screening) |  | ü
 Onsite Threatened & Endangered Species Habitat Assessment (Field Assessment) if applicable based on database results and/or other agency coordination |  | ü
 Coastal Avian Protection Zone Map with project location and Zone Identified |  | ü
 Cultural Resources Review - Archaeological and Architectural (Desktop) - Note: This item can been shown as not applicable if a Phase 1 Cultural Resources Survey or Assessment is being provided | ü
 Phase 1 Cultural Resources Survey - Archaeological and Architectural (Desktop) and all correspondence with DHR including concurrence letter |  | ü
 Risk Assessment conducted by a professional meeting the qualification standards of the Department of the Interior (48 FR 44738-9) - Note: this item can be shown as not applicable if a Phase 1 Cultural Resources Survey is being provided | ü
 Consultation letter from USFWS | ü
 Consultation letter from State Agencies |  | ü
 Noise Studies (for each turbine under construction) |  | ü
 Shadow Flicker Study |  | ü
 Avian studies and schedule for completion | ü
 Storage System Safety Data Sheet |  | ü
For Projects Located in Tidewater/Chesapeake Bay Preservation Area
 Chesapeake Bay Preservation Area Boundaries - Perennial Flow Determination (Field Assessment) MZ, KML, or other file) | ü
 Chesapeake Bay Preservation Area Boundaries - Local and/or Department of Environmental Quality Approval (Field Assessment) |  | ü
For Projects Developing on a Previoulsy Developed Site
 Phase 2 Environmental Site Assessment, if Recognized Environmental Conditions (RECs) noted during a Phase 1 or legacy contamination is present | ü
 Administrative orders, consent decrees, or any US or Virginia environmental permits required for operation of the brownfield site (see Previously Developed Site Fact Sheet for specific requirements) | ü
 Environmental Land Use, Deed Restrictions, Covenants, and/or Long Term Management Plans | ü |  | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
| Required | Requested
Local Permitting Risk
 Complete "Permitting Plan" in its Entirety | ü |  | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
| Required | Requested
Land Agreements
 Proof of Existing Site Control: Options, Leases and Purchase Contracts are acceptable. All documents provided should have fully negotiated terms. | ü |  | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
| Required | Requested
Project Tax Credits
 Provide list of any tax credits expected to apply to project and amounts | ü |  | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
| Required | Requested
Power Purchase Agreements
 Provide (i) an affirmative statement that Bidder is taking no exception to the form of power purchase agreement provided pursuant to this RFP; or (ii) a fully marked-up Form Agreement reflective of its bid, and that Bidder deems execution-ready | ü |  | SharePoint PPA Upload Folder | File Name | Page Number if Applicable
| Required | Requested
Counterparty Financial Strength
 Legal Name and Current Address | ü
 Corporate Structure and Primary and Secondary Businesses Including all Legal Entity Names | ü
 Complete provided Bank and Trade Reference Sheet | ü
 Provide all associated entities providing equity funding, their associated percentages, and the role of each party | ü
 3 years of audited financials | ü
 Credit Package with pre-COD and post-COD credit support description | ü
For Projects Developing on a Previoulsy Developed Site
 If the property is subject to any federal, state, or local voluntary cleanup, brownfields, or remediation grants, loans or programs, please name all
 Potentially Reponsible Parties (PRPs) identified, if applicable